## Slide 1
v1.0.8
PyCuDAL
From Legacy SAS to Open-Source Python
Parametric acceptance limits for USP <905> Content Uniformity • USP <711> Dissolution
Project Walkthrough — Design, Verification & Validation
1
Notes: Intro: Hi everyone — today I'm walking through PyCuDAL, an open-source Python translation of a legacy SAS system called CuDAL, used to calculate acceptance limits for two USP tests: Content Uniformity (<905>) and Dissolution (<711>). We're on release v1.0.8. Over the next ~10-15 minutes I'll cover why this exists, what it does, how it was built and verified, and where the validation effort stands today.

## Slide 2
AGENDA
What We'll Cover
1
The Problem
Why a decades-old SAS system needed rethinking
2
What PyCuDAL Does
Four modules, three analysis modes, one shared engine
3
Faithful Translation
Verifying every formula against the original SAS macros
4
Performance Engineering
Vectorizing the math for real speed gains
5
Rigor in Practice
The CUSP2 investigation and an independent R cross-check
6
Validation & What's Next
The protocol in progress, and how you can help
2
Notes: Quick roadmap for the talk: the problem we set out to solve, what the tool actually does, how we made sure the Python matches the original SAS math exactly, how we made it fast, a couple of quality-assurance stories worth highlighting, and finally where validation stands and how people can get involved.

## Slide 3
BACKGROUND
Why Replace a System That Works?
CuDAL calculates parametric (tolerance-interval) acceptance limits for two compendial tests: USP <905> Content Uniformity and USP <711> Dissolution.
The original system is a SAS/AF application — reliable statistically, but built on a platform that is expensive to license, hard to install, and difficult to extend.
The underlying methodology is sound. The problem was never the math — it was everything around it.
The SAS Pain Points
!
Aging platform
SAS/AF interface, hard to run on modern systems
!
Licensing cost
Ongoing SAS licensing just to run one tool
!
Hard to maintain
Legacy macro code, few people can safely edit it
!
Limited access
Not easy to share, install, or extend across teams
3
Notes: CuDAL itself is a good, statistically sound tool — that's important to say up front. The problem is the platform: SAS/AF is expensive, aging, and hard to maintain or hand off. So the goal was never to redesign the statistics — it was to carry that exact statistical methodology onto a modern, open, maintainable platform.

## Slide 4
THE TOOL
Four Modules, One Shared Engine
CU
CUSP1
Content Uniformity
Single location / composite sample
CU
CUSP2
Content Uniformity
Multiple locations — variance components
DI
DISP1
Dissolution
Single location
DI
DISP2
Dissolution
Multiple locations — variance components
Every module supports the same three analysis modes:
Acceptance-Limit Table
Probability of Passing
Sample Probability
4
Notes: PyCuDAL has four modules — two for Content Uniformity, two for Dissolution — each covering a single-location and a multi-location sampling plan. And every module offers the same three things: build an acceptance-limit table, evaluate the probability a batch will pass, or check a single observed sample. Under the hood they all share the exact same statistical engine.

## Slide 5
THE SCIENCE
Built on Rigorous, Published Statistics
Every formula traces back to classical sampling theory — starting from Cochran's theorem: the sample mean and sample variance are independent and each follows a known distribution.
This is the same family of methods as ASTM E2709 / E2810 — parametric tolerance intervals for compendial testing.
Bonferroni-style inequalities keep every result a guaranteed conservative bound, not just a point estimate — that's why the code calls it “OVERBD,” not “probability.”
Sample
Data
→
Statistical
Model
→
Conservative
Pass Probability
A full step-by-step derivation, with proofs, lives in Appendix E of the Validation Protocol.
5
Notes: I won't derive the math in a 10-minute video — there's a full written derivation with proofs in Appendix E of the Validation Protocol — but the short version: this is grounded in classical, published sampling theory, the same family as ASTM E2709/E2810, and every result is deliberately conservative — a guaranteed lower bound rather than a best guess.

## Slide 6
METHODOLOGY
Line-by-Line Verification First
Step one was never speed — it was fidelity: every SAS macro formula was translated and checked term-by-term before anything else changed.
Only once the math was confirmed identical did any optimization work begin.
The result: the same statistical answers the original system has produced for years, on a platform anyone can install with one command.
SAS Macro → Python Function
c1calc / cullu / cuulu
content_uniformity_bound()
COMPUTE
dissolution_bound()
CALCUSP1 / CALCUSP2
acceptance_limit_table()
SMPCUSP1 / SMPDISP1
sample_probability()
6
Notes: The translation approach was deliberately conservative: match the original macros exactly first, verify that, and only then think about improving anything. A few examples of the mapping are shown here — SAS macro names on top, the Python function that replaces it below.

## Slide 7
PERFORMANCE ENGINEERING
Faster, Not Just Modern
Chart: Time to build acceptance-limit table (seconds)
| CUSP1 table (299 means) | CUSP2 table (2,116 cells)
Before (per-point search) | 14.5 | 197
After (vectorized) | 2.3 | 28.5
What Changed
Every probability formula rewritten to evaluate whole grids at once with numpy, instead of one point at a time.
A vectorized bisection solves every grid point's root simultaneously, replacing SAS's original step-by-step search.
Same formulas, same answers — just computed as arrays instead of loops.
7
Notes: This is where it gets fun for the engineers in the room: the CUSP1 acceptance table went from about 14 and a half seconds down to just over 2. The CUSP2 table — the more complex multi-location case — went from roughly 197 seconds down to under 29. Same math, same formulas — the difference is evaluating whole grids of inputs at once with numpy instead of looping one point at a time.

## Slide 8
RIGOR IN PRACTICE
The CUSP2 Discrepancy Investigation
In one narrow condition — very small variability combined with a large sample size — the Python result differed slightly from the original SAS output. Rather than dismiss it, we ran it to ground.
1
Observed
A gap appeared vs. SAS in one edge case
→
2
Ruled Out
Not the integration step size, not simple rounding
→
3
Root Cause
SAS's own sequential search is path-dependent under a near-step-function curve
→
4
Conclusion
Python's independent solve is the mathematically correct root
Documented in full as a standalone technical note, shared alongside the Validation Protocol.
8
Notes: This is a good rigor story. We found a real numerical gap between Python and SAS in one narrow situation. We ruled out the obvious suspects — integration step size, simple rounding — and traced it to how SAS's own sequential, warm-started search behaves when the underlying curve becomes almost a step function. Python's independent solve turned out to be the mathematically correct one. It's all written up as its own technical note so nothing is hidden.

## Slide 9
INDEPENDENT VERIFICATION
Double-Checked in a Second Language
A separate R implementation of the CUSP1 and CUSP2 math was built independently, then run against the exact same shared test data set — giving us agreement from a language and codebase with no shared bugs.
Same formulas re-derived independently in R, documented for peer review
Run against every case in the shared Appendix G test data set
Every result agreed with PyCuDAL within numerical tolerance
86 / 86
test cases matched
CUSP1 + CUSP2, across the full shared test data set
9
Notes: To add another layer of confidence, we didn't just re-read the Python code — we re-implemented the same math independently in R, and ran it against every single test case in our shared Appendix G data set. All 86 cases across CUSP1 and CUSP2 agreed within numerical tolerance. Two independent codebases, two languages, same answer.

## Slide 10
VALIDATION
A Real Validation Package
Appendices
A — Program Listing
B — Primary Windows
C — Default Output for Analysis (R Code)
D — Navigation and Error Checks
E — Math / Lower Bound Calculations
F — Program Description
G — Program Test Data Sets
H — Curriculum Vitae’s
Forms
1 — Load and Run Program
2 — Primary Window Navigation
3 — Program Strategy / Python Code Verification
4 — Test Data Agreement
5 — Problem / Request Report
Plus: a full User Manual, and a standalone Annexure covering the CUSP2 investigation.
10
Notes: This isn't just code with a README — there's a full Validation Protocol behind it, with eight appendices covering everything from the program listing to the test data sets, and five forms to actually execute the validation: loading and running the program, navigating it, verifying the code strategy, agreeing test data, and logging any problems found.

## Slide 11
PROGRESS
Where Things Stand Today
Done
✓
Core translation complete, verified against SAS formula-by-formula
✓
Performance-optimized — fully vectorized acceptance-limit search
✓
CUSP2 edge case investigated and transparently documented
✓
Independent R cross-verification complete (86/86 cases)
✓
Validation Protocol drafted — all appendices and forms structured
In Progress / Next
Community-driven validation execution (Forms 1, 2, 4)
Broader accessibility — GUI exploration
11
Notes: So, snapshot of where we are: the hard technical work is done — translation, verification, performance, the CUSP2 investigation, the R cross-check, and the Validation Protocol itself are all in place. What's left is genuinely a team effort: executing the validation forms with real users, and longer-term, thinking about a GUI to make this more accessible to non-programmers.

## Slide 12
OPEN SOURCE
Built in the Open
Published on GitHub, fully open-source, currently at release v1.0.8
Shared with the ISPE Open Forum community, requesting help completing validation
Posted for visibility on LinkedIn — open to anyone who wants to try it or contribute
Get Involved
1
Try it — run real or sample cases
2
Help execute the validation forms
3
Report anything unexpected
Repository: github.com/moazelessawey/pycudal
Latest release: github.com/moazelessawey/pycudal/releases/tag/v1.0.8
12
Notes: This is being built in the open on GitHub — release v1.0.8 is live right now. I've also shared it with the ISPE Open Forum community and on LinkedIn specifically to ask for help finishing the validation. If you want to try it, run some test cases, or help fill out any of the forms, the repository link is right here.

## Slide 13
LOOKING AHEAD
What's Next
Now
Community-driven validation — forms, test execution, issue tracking
→
Next
Expand test data coverage across edge cases
→
Then
Explore a GUI for non-technical users
→
Later
Formal release once validation closes
13
Notes: Looking ahead: right now the focus is community-driven validation — getting real people to run the forms. After that, expanding test coverage further, then exploring a GUI so this isn't just for people comfortable with a command line, and eventually a formal release once validation is fully closed out.

## Slide 14
Let's Build This Together
Try it. Test it. Help validate it.
Repository:
github.com/moazelessawey/pycudal
Latest release:
github.com/moazelessawey/pycudal/releases/tag/v1.0.8
Thank you for watching.
14
Notes: That's the walkthrough. PyCuDAL is open, it's verified, and the validation is genuinely a community effort at this point — so if any of this resonated, please go try it out, run a few cases, and consider helping with the forms. Thanks so much for watching.